HYDRO-MAX

HM 2000

HYDRAULICALLY-DRIVEN

### AC GENERATOR

# BY

120 /
240 V
60 Hz

20000
Watts
1 Phase

\

Optional  Panel

| # QUALITY FEATURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Brushless AC Generator |  | Includes Pressure Compensating Flow Regulator |  |  |
| Maintenance Free Design |  | Lifetime Guaranteed Alignment |  |  |
| #### SPECIFICATIONS |  |  |  |  |
| Flow = | ##### 26 GPM |  | Volts = | 120 or 120/240 |
| Pressure = | 2600 PSI |  | Amps = | 168 @ 120 |
| Speed = | 3600 RPM |  | Watts = | 20000 Continuous |
| Weight = | 155 Lbs |  | Power Factor = | 1.0 |
| Dimensions = | 9” W * 12.5” H * 29” L |  | Temperature Rating = | 105 C |

FERNDALE, NY 12734

(845)-292-0800
http://www.getec.com

GETECK.COM