HYDRO-MAX

HM-350

HYDRAULICALLY-DRIVEN

### AC GENERATOR

# BY

120 /
240 V
60 Hz

3500
Watts
1 Phase

\

| # QUALITY FEATURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Brushless AC Generator |  | Includes Pressure Compensating Flow Regulator |  |  |
| Maintenance Free Design |  | Lifetime Guaranteed Alignment |  |  |
| #### SPECIFICATIONS |  |  |  |  |
| Flow = | ##### 7.5 GPM |  | Volts = | 120 or 120/240 |
| Pressure = | 1700 PSI |  | Amps = | 28 @ 120 V |
| Speed = | 3600 RPM |  | Watts = | 3,500 Continuous |
| Weight = | 55 Lbs |  | Power Factor = | 1.0 |
| Dimensions = | 7” W * 8” H * 22.5” L |  | Temperature Rating = | 105 C |

FERNDALE, NY 12734

(845)-292-0800
http://www.geteck.com